## Sheet1
Note 1:
14C isotope ratios are given as fraction modern (F14C), which is the fraction with respect to the standard isotope ratio including
normalization for δ13C (e.g. Reimers et al., Radiocarbon 46 (2004) 1299.
These values are quoted as 14aN by W.G. Mook and J. van der Plicht, Radiocarbon 41 (1999) 227.
Note 2:
Common alternative parameterization of the 14C concentrations are pMC (percent modern Carbon) and the
"conventional radiocarbon age". The conventional radiocarbon age is equal to -8033 * ln(F14C), but not the real age.
pMC can be calculated from F14C by multiplying with 100. Note, the uncertainties of pMC are analogeous those of F14C
also multiplied by a factor 100.
Note 3:
For the determination of the calendar ages programs like e.g. OxCal or Calib have to be used. In this case the use of F14C
instead of the conventional age is recommanded (easier with respect to the uncertainty).
Note 4:
The depletion Δ14C is, in contrast to F14C, additionally corrected for the decay between 1950 and the measurement time
(M. Stuiver and H. Polach, Radiocarbon 19 (1977) 355). These values are quoted as "14δsN" by W.G. Mook and
J. van der Plicht, Radiocarbon 41 (1999) 227.
Note 5:
The quoted uncertainties are based on the statistical uncertainty of the number of 14C counts, the scattering of the
single measurements of the respective sample, plus a contribution from the calibration by the standards
(A. Steinhof, Radiocarbon 55 (2013) 282). Not included is an additional (machine-dependent) contribution.
Note 6:
The calculation of the uncertainties do not include any contributions due to current variations. Instead, if applicable,
lower currents at levels below 1/2, 1/4, or 1/10 of the mean current are indicated under remarks.
P-Nr. | Probe | F14C | err | ∆14C (‰) | err (‰) | remark
36843 | PD_P10_S 0-5 | 1.0862 | 0.0022 | 76.5 | 2.2
36844 | PD_P9_S_1 10-15 | 1.0561 | 0.0021 | 46.7 | 2.1
36845 | PD_P9_S 0-5 | 1.0769 | 0.0022 | 67.3 | 2.2
36846 | PD_P5_S 0-5 | 1.0476 | 0.0022 | 38.3 | 2.2
36847 | PD_P10_S 5-10 | 1.0606 | 0.0024 | 51.2 | 2.4
36848 | PD_P9_S_2 10-15 | 1.0378 | 0.0021 | 28.6 | 2.1
36849 | PD_P2_S_5 10-15 | 1.0465 | 0.0021 | 37.2 | 2.1
36850 | PD_P7_S 0-5 | 1.0315 | 0.0022 | 22.3 | 2.2
36851 | PD_P10_S_25 10-15 | 1.0442 | 0.0021 | 34.9 | 2.1
36852 | PD_P3_S_12 10-15 | 1.069 | 0.0022 | 59.5 | 2.2
36853 | PD_P4_S 0-5 | 1.0169 | 0.0021 | 7.9 | 2.1
36854 | PD_P9_S 5-10 | 1.0311 | 0.0022 | 22 | 2.2
36855 | PD_P2_S_8 10-15 | 0.9675 | 0.002 | -41.1 | 2
36856 | PD_P6_S 0-5 | 0.9946 | 0.002 | -14.3 | 2
36857 | PD_P2_S 0-5 | 1.0018 | 0.0021 | -7.2 | 2.1
36858 | PD_P5_S 5-10 | 1.0131 | 0.0022 | 4.1 | 2.2
36859 | PD_P2_S 5-10 | 1.033 | 0.0022 | 23.7 | 2.2
36860 | PD_P2_S_8 15-20 | 0.9736 | 0.002 | -35.1 | 2
36861 | PD_P10_S_27 10-15 | 1.0232 | 0.0023 | 14.1 | 2.3
36862 | PD_P3_S 0-5 | 1.0086 | 0.002 | -0.4 | 2
36863 | PD_P7_S 5-10 | 1.029 | 0.002 | 19.8 | 2
36864 | PD_P7_S_15 10-15 | 1.0188 | 0.002 | 9.8 | 2
36865 | PD_P5_S_22 10-15 | 1.0057 | 0.002 | -3.3 | 2
36866 | PD_P3_S_12 15-20 | 1.0664 | 0.0021 | 56.9 | 2.1
36867 | PD_P5_S_24 15-20 | 0.9651 | 0.0019 | -43.5 | 1.9
36868 | PD_P4_S_18 15-20 | 1.0258 | 0.0021 | 16.6 | 2.1
36869 | PD_P7_S_14 10-15 | 0.9845 | 0.0019 | -24.2 | 1.9
36870 | PD_P4_S_18 10-15 | 1.016 | 0.0022 | 6.9 | 2.2
36871 | PD_P10_S_25 15-20 | 0.998 | 0.002 | -10.9 | 2
36872 | PD_P3_S 5-10 | 0.998 | 0.002 | -10.9 | 2
36873 | PD_P5_S_21 15-20 | 0.9777 | 0.002 | -31 | 2
36874 | PD_P2_S_7 10-15 | 0.9705 | 0.0019 | -38.1 | 1.9
36875 | PD_P5_S_21 10-15 | 1.01 | 0.002 | 1 | 2
36876 | PD_P4_S 5-10 | 0.9762 | 0.002 | -32.5 | 2
36877 | PD_P5_S_24 10-15 | 0.9088 | 0.0018 | -99.3 | 1.8
36878 | PD_P4_S_19 10-15 | 0.9246 | 0.0019 | -83.7 | 1.9
36879 | PD_P6_S 5-10 | 0.9579 | 0.002 | -50.6 | 2
36880 | PD_P2_S_7 15-20 | 0.9616 | 0.002 | -47 | 2
36881 | PD_P4_S_19 15-20 | 0.9107 | 0.0019 | -97.4 | 1.9
36882 | PD_P5_S_23 10-15 | 0.9673 | 0.0019 | -41.3 | 1.9
36883 | PD_P7_S_13 10-15 | 0.9871 | 0.002 | -21.7 | 2
36884 | PD_P4_S_17 10-15 | 0.9552 | 0.0019 | -53.4 | 1.9
36885 | PD_P7_S_15 15-20 | 0.9075 | 0.0019 | -100.6 | 1.9
36886 | PD_P9_S_3 10-15 | 0.9628 | 0.002 | -45.8 | 2
36887 | PD_P5_S_22 15-20 | 0.9326 | 0.0019 | -75.7 | 1.9
36888 | PD_P7_S_14 15-20 | 0.9024 | 0.0023 | -105.6 | 2.3
36889 | PD_P10_S_27 15-20 | 0.917 | 0.0023 | -91.2 | 2.3
36890 | PD_P3_S_10 10-15 | 0.9411 | 0.0024 | -67.3 | 2.4
36891 | PD_P6_S_28 10-15 | 0.9359 | 0.0025 | -72.5 | 2.5
36892 | PD_P10_S_26 10-15 | 0.9588 | 0.0024 | -49.7 | 2.4
36893 | PD_P9_S_4 10-15 | 0.971 | 0.0025 | -37.6 | 2.5
36894 | PD_P5_S_23 15-20 | 0.9272 | 0.0024 | -81 | 2.4
36895 | PD_P6_S_28 15-20 | 0.8821 | 0.0023 | -125.8 | 2.3
36896 | PD_P6_S_29 10-15 | 0.8728 | 0.0023 | -135 | 2.3
36897 | PD_P6_S_29 15-20 | 0.8286 | 0.0022 | -178.7 | 2.2
36898 | PD_P4_S_20 10-15 | 0.9113 | 0.0024 | -96.8 | 2.4
36899 | PD_P6_S_30 15-20 | 0.9445 | 0.0024 | -64 | 2.4
36900 | PD_P4_S_20 15-20 | 0.9076 | 0.0025 | -100.5 | 2.5
36901 | PD_P7_S_13 15-20 | 0.8782 | 0.0023 | -129.7 | 2.3
36902 | PD_P4_S_17 15-20 | 0.9402 | 0.0024 | -68.1 | 2.4
36903 | PD_P3_S_10 15-20 | 0.9092 | 0.0025 | -98.9 | 2.5
36904 | PD_P6_S_30 10-15 | 0.9292 | 0.0024 | -79.1 | 2.4
36905 | PD_P2_S_6 10-15 | 0.8726 | 0.0023 | -135.1 | 2.3
36906 | PD_P10_S_26 15-20 | 0.9012 | 0.0027 | -106.8 | 2.7
36907 | PD_P7_S_16 15-20 | 0.8798 | 0.0025 | -128.1 | 2.5
36908 | PD_P3_S_9 10-15 | 0.9634 | 0.0024 | -45.2 | 2.4
36909 | PD_P3_S_11 15-20 | 0.8939 | 0.0023 | -114.1 | 2.3
36910 | PD_P7_S_16 10-15 | 0.9005 | 0.0023 | -107.5 | 2.3
36911 | PD_P3_S_11 10-15 | 0.971 | 0.0024 | -37.7 | 2.4
36912 | PD_P3_S_9 15-20 | 0.9325 | 0.0024 | -75.8 | 2.4